## Draft NI MP TLAFs 2010
APPENDIX 1B
DRAFT NORTHERN IRELAND TRANSMISSION LOSS ADJUSTMENT FACTORS 2010
NI Transmission-Connected Generation Station | Unit Identifier |  | Connected at | Month
|  |  |  | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Ballylumford | B4 | GU_500100 | Ballylumford 275 kV | 0.982 | 1.007 | 0.983 | 1.002 | 0.989 | 1.006 | 0.991 | 1.001 | 0.994 | 1.009 | 0.991 | 1.006 | 1.005 | 1.011 | 1.017 | 1.013 | 1.019 | 1.008 | 1.006 | 1.017 | 1.005 | 1.02 | 1.011 | 1.022
Ballylumford | B5 | GU_500281 | Ballylumford 275 kV | 0.982 | 1.007 | 0.983 | 1.002 | 0.989 | 1.006 | 0.991 | 1.001 | 0.994 | 1.009 | 0.991 | 1.006 | 1.005 | 1.011 | 1.017 | 1.013 | 1.019 | 1.008 | 1.006 | 1.017 | 1.005 | 1.02 | 1.011 | 1.022
Ballylumford | B6 | GU_500280 | Ballylumford 275 kV | 0.982 | 1.007 | 0.983 | 1.002 | 0.989 | 1.006 | 0.991 | 1.001 | 0.994 | 1.009 | 0.991 | 1.006 | 1.005 | 1.011 | 1.017 | 1.013 | 1.019 | 1.008 | 1.006 | 1.017 | 1.005 | 1.02 | 1.011 | 1.022
Ballylumford | BGT1 | GU_500150 | Ballylumford 110 kV | 0.976 | 1.005 | 0.975 | 0.999 | 0.981 | 1.003 | 0.982 | 0.995 | 0.984 | 1.002 | 0.983 | 1 | 0.996 | 1.006 | 1.01 | 1.008 | 1.013 | 1.005 | 0.997 | 1.012 | 0.997 | 1.017 | 1 | 1.019
Ballylumford | BGT2 | GU_500160 | Ballylumford 110 kV | 0.976 | 1.005 | 0.975 | 0.999 | 0.981 | 1.003 | 0.982 | 0.995 | 0.984 | 1.002 | 0.983 | 1 | 0.996 | 1.006 | 1.01 | 1.008 | 1.013 | 1.005 | 0.997 | 1.012 | 0.997 | 1.017 | 1 | 1.019
Ballylumford | B10 | GU_500140 | Ballylumford 110 kV | 0.976 | 1.005 | 0.975 | 0.999 | 0.981 | 1.003 | 0.982 | 0.995 | 0.984 | 1.002 | 0.983 | 1 | 0.996 | 1.006 | 1.01 | 1.008 | 1.013 | 1.005 | 0.997 | 1.012 | 0.997 | 1.017 | 1 | 1.019
Ballylumford | B31 | GU_500130 | Ballylumford 275 kV | 0.982 | 1.007 | 0.983 | 1.002 | 0.989 | 1.006 | 0.991 | 1.001 | 0.994 | 1.009 | 0.991 | 1.006 | 1.005 | 1.011 | 1.017 | 1.013 | 1.019 | 1.008 | 1.006 | 1.017 | 1.005 | 1.02 | 1.011 | 1.022
Ballylumford | B32 | GU_500131 | Ballylumford 275 kV | 0.982 | 1.007 | 0.983 | 1.002 | 0.989 | 1.006 | 0.991 | 1.001 | 0.994 | 1.009 | 0.991 | 1.006 | 1.005 | 1.011 | 1.017 | 1.013 | 1.019 | 1.008 | 1.006 | 1.017 | 1.005 | 1.02 | 1.011 | 1.022
Coolkeeragh | C30 | GU_500040 | Coolkeeragh 275/110 kV | 0.9725 | 1.0025 | 0.975 | 0.995 | 0.9775 | 0.997 | 0.9775 | 0.9915 | 1.0005 | 1.015 | 0.9775 | 1.001 | 0.997 | 1.0115 | 1.0025 | 1.006 | 1.001 | 0.9945 | 0.9925 | 1.011 | 0.9945 | 1.013 | 1.004 | 1.015
Coolkeeragh | CGT8 | GU_500170 | Coolkeeragh 110 kV | 0.971 | 1.002 | 0.974 | 0.994 | 0.976 | 0.996 | 0.976 | 0.99 | 1.001 | 1.015 | 0.976 | 1 | 0.996 | 1.011 | 1.001 | 1.005 | 0.999 | 0.993 | 0.991 | 1.01 | 0.993 | 1.012 | 1.003 | 1.014
Kilroot | K1 | GU_500060 | Kilroot 275 kV | 0.986 | 1.01 | 0.987 | 1.004 | 0.991 | 1.008 | 0.995 | 1.004 | 0.999 | 1.012 | 0.996 | 1.009 | 1.01 | 1.015 | 1.019 | 1.015 | 1.019 | 1.009 | 1.01 | 1.019 | 1.01 | 1.023 | 1.016 | 1.026
Kilroot | K2 | GU_500070 | Kilroot 275 kV | 0.986 | 1.01 | 0.987 | 1.004 | 0.991 | 1.008 | 0.995 | 1.004 | 0.999 | 1.012 | 0.996 | 1.009 | 1.01 | 1.015 | 1.019 | 1.015 | 1.019 | 1.009 | 1.01 | 1.019 | 1.01 | 1.023 | 1.016 | 1.026
Kilroot | KGT1 | GU_500080 | Kilroot 275 kV | 0.986 | 1.01 | 0.987 | 1.004 | 0.991 | 1.008 | 0.995 | 1.004 | 0.999 | 1.012 | 0.996 | 1.009 | 1.01 | 1.015 | 1.019 | 1.015 | 1.019 | 1.009 | 1.01 | 1.019 | 1.01 | 1.023 | 1.016 | 1.026
Kilroot | KGT2 | GU_500090 | Kilroot 275 kV | 0.986 | 1.01 | 0.987 | 1.004 | 0.991 | 1.008 | 0.995 | 1.004 | 0.999 | 1.012 | 0.996 | 1.009 | 1.01 | 1.015 | 1.019 | 1.015 | 1.019 | 1.009 | 1.01 | 1.019 | 1.01 | 1.023 | 1.016 | 1.026
Kilroot | KGT3 | GU_500820 | Kilroot 275 kV | 0.986 | 1.01 | 0.987 | 1.004 | 0.991 | 1.008 | 0.995 | 1.004 | 0.999 | 1.012 | 0.996 | 1.009 | 1.01 | 1.015 | 1.019 | 1.015 | 1.019 | 1.009 | 1.01 | 1.019 | 1.01 | 1.023 | 1.016 | 1.026
Kilroot | KGT4 | GU_500821 | Kilroot 275 kV | 0.986 | 1.01 | 0.987 | 1.004 | 0.991 | 1.008 | 0.995 | 1.004 | 0.999 | 1.012 | 0.996 | 1.009 | 1.01 | 1.015 | 1.019 | 1.015 | 1.019 | 1.009 | 1.01 | 1.019 | 1.01 | 1.023 | 1.016 | 1.026
Moyle (Auchencrosh) | M | GU_500200 | Auchencrosh 275 kV | 0.964 | 0.989 | 0.965 | 0.984 | 0.971 | 0.988 | 0.973 | 0.983 | 0.976 | 0.991 | 0.973 | 0.988 | 0.987 | 0.993 | 0.999 | 0.995 | 1.001 | 0.99 | 0.988 | 0.999 | 0.987 | 1.002 | 0.993 | 1.005
NI Distribution-Connected Generation Station | Unit Identifier |  | Connected/Embedded at | Month
|  |  |  | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Altahullion (1) | Wind Farm | GU_500210 | Limavady 110 kV | 0.987 | 1.01 | 0.99 | 1.003 | 0.992 | 1.005 | 0.989 | 0.997 | 1.009 | 1.019 | 0.988 | 1.007 | 1.006 | 1.015 | 1.013 | 1.013 | 1.013 | 1.001 | 1.006 | 1.016 | 1.011 | 1.021 | 1.022 | 1.024
Altahullion (2) | Wind Farm | GU_500211 | Limavady 110 kV | 0.987 | 1.01 | 0.99 | 1.003 | 0.992 | 1.005 | 0.989 | 0.997 | 1.009 | 1.019 | 0.988 | 1.007 | 1.006 | 1.015 | 1.013 | 1.013 | 1.013 | 1.001 | 1.006 | 1.016 | 1.011 | 1.021 | 1.022 | 1.024
Callagheen | Wind Farm | GU_500020 | Enniskillen 110 kV | 0.995 | 1.006 | 0.997 | 1 | 1 | 1.002 | 0.992 | 0.992 | 1.009 | 1.011 | 0.994 | 1.004 | 1.008 | 1.008 | 1.017 | 1.012 | 0.999 | 0.981 | 0.994 | 0.992 | 1.001 | 1 | 1.012 | 1.003
Lendrums Bridge (1) | Wind Farm | GU_500260 | Omagh 110 kV | 0.987 | 1.004 | 0.989 | 0.998 | 0.992 | 1 | 0.988 | 0.993 | 1.004 | 1.011 | 0.989 | 1.003 | 1.004 | 1.009 | 1.013 | 1.01 | 0.995 | 0.982 | 0.989 | 0.993 | 0.993 | 0.999 | 1.002 | 1.002
Lendrums Bridge (1) | Wind Farm | GU_500220 | Omagh 110 kV | 0.987 | 1.004 | 0.989 | 0.998 | 0.992 | 1 | 0.988 | 0.993 | 1.004 | 1.011 | 0.989 | 1.003 | 1.004 | 1.009 | 1.013 | 1.01 | 0.995 | 0.982 | 0.989 | 0.993 | 0.993 | 0.999 | 1.002 | 1.002
Mantlin Limited | Wind Farm | GU_500270 | Aghyoule 110 kV | 0.991 | 0.999 | 0.993 | 0.992 | 0.996 | 0.995 | 0.987 | 0.985 | 1.004 | 1.004 | 0.989 | 0.998 | 1.002 | 1.001 | 1.012 | 1.007 | 0.994 | 0.974 | 0.989 | 0.985 | 0.997 | 0.993 | 1.008 | 0.996
Snugborough | Wind Farm | GU_500180 | Aghyoule 110 kV | 0.991 | 0.999 | 0.993 | 0.992 | 0.996 | 0.995 | 0.987 | 0.985 | 1.004 | 1.004 | 0.989 | 0.998 | 1.002 | 1.001 | 1.012 | 1.007 | 0.994 | 0.974 | 0.989 | 0.985 | 0.997 | 0.993 | 1.008 | 0.996
Tappaghan | Wind Farm | GU_500010 | Omagh 110 kV | 0.987 | 1.004 | 0.989 | 0.998 | 0.992 | 1 | 0.988 | 0.993 | 1.004 | 1.011 | 0.989 | 1.003 | 1.004 | 1.009 | 1.013 | 1.01 | 0.995 | 0.982 | 0.989 | 0.993 | 0.993 | 0.999 | 1.002 | 1.002
Energia DSU | DSU | DSU_500190 | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Slieve Divena | Wind Farm | GU_500740 | Omagh 110 kV | 0.987 | 1.004 | 0.989 | 0.998 | 0.992 | 1 | 0.988 | 0.993 | 1.004 | 1.011 | 0.989 | 1.003 | 1.004 | 1.009 | 1.013 | 1.01 | 0.995 | 0.982 | 0.989 | 0.993 | 0.993 | 0.999 | 1.002 | 1.002
Garves | Wind Farm | GU_500720 | Coleraine 110 kV | 0.993 | 1.014 | 0.996 | 1.007 | 0.998 | 1.009 | 0.994 | 1.001 | 1.012 | 1.021 | 0.994 | 1.01 | 1.01 | 1.018 | 1.019 | 1.016 | 1.019 | 1.005 | 1.012 | 1.02 | 1.017 | 1.026 | 1.028 | 1.029
Gruig | Wind Farm | GU_500790 | Coleraine 110 kV | 0.993 | 1.014 | 0.996 | 1.007 | 0.998 | 1.009 | 0.994 | 1.001 | 1.012 | 1.021 | 0.994 | 1.01 | 1.01 | 1.018 | 1.019 | 1.016 | 1.019 | 1.005 | 1.012 | 1.02 | 1.017 | 1.026 | 1.028 | 1.029

## 2010 NI Compression Factor
APPENDIX 1B
DRAFT NORTHERN IRELAND TRANSMISSION LOSS ADJUSTMENT FACTORS 2010
NI Transmission-Connected Generation Station | Unit Identifier |  | Connected at | Month
|  |  |  | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Ballylumford | B4 | GU_500100 | Ballylumford 275 kV | 0.991 | 1.0035 | 0.9915 | 1.001 | 0.9945 | 1.003 | 0.9955 | 1.0005 | 0.997 | 1.0045 | 0.9955 | 1.003 | 1.0025 | 1.0055 | 1.0085 | 1.0065 | 1.0095 | 1.004 | 1.003 | 1.0085 | 1.0025 | 1.01 | 1.0055 | 1.011
Ballylumford | B5 | GU_500281 | Ballylumford 275 kV | 0.991 | 1.0035 | 0.9915 | 1.001 | 0.9945 | 1.003 | 0.9955 | 1.0005 | 0.997 | 1.0045 | 0.9955 | 1.003 | 1.0025 | 1.0055 | 1.0085 | 1.0065 | 1.0095 | 1.004 | 1.003 | 1.0085 | 1.0025 | 1.01 | 1.0055 | 1.011
Ballylumford | B6 | GU_500280 | Ballylumford 275 kV | 0.991 | 1.0035 | 0.9915 | 1.001 | 0.9945 | 1.003 | 0.9955 | 1.0005 | 0.997 | 1.0045 | 0.9955 | 1.003 | 1.0025 | 1.0055 | 1.0085 | 1.0065 | 1.0095 | 1.004 | 1.003 | 1.0085 | 1.0025 | 1.01 | 1.0055 | 1.011
Ballylumford | BGT1 | GU_500150 | Ballylumford 110 kV | 0.988 | 1.0025 | 0.9875 | 0.9995 | 0.9905 | 1.0015 | 0.991 | 0.9975 | 0.992 | 1.001 | 0.9915 | 1 | 0.998 | 1.003 | 1.005 | 1.004 | 1.0065 | 1.0025 | 0.9985 | 1.006 | 0.9985 | 1.0085 | 1 | 1.0095
Ballylumford | BGT2 | GU_500160 | Ballylumford 110 kV | 0.988 | 1.0025 | 0.9875 | 0.9995 | 0.9905 | 1.0015 | 0.991 | 0.9975 | 0.992 | 1.001 | 0.9915 | 1 | 0.998 | 1.003 | 1.005 | 1.004 | 1.0065 | 1.0025 | 0.9985 | 1.006 | 0.9985 | 1.0085 | 1 | 1.0095
Ballylumford | B10 | GU_500140 | Ballylumford 110 kV | 0.988 | 1.0025 | 0.9875 | 0.9995 | 0.9905 | 1.0015 | 0.991 | 0.9975 | 0.992 | 1.001 | 0.9915 | 1 | 0.998 | 1.003 | 1.005 | 1.004 | 1.0065 | 1.0025 | 0.9985 | 1.006 | 0.9985 | 1.0085 | 1 | 1.0095
Ballylumford | B31 | GU_500130 | Ballylumford 275 kV | 0.991 | 1.0035 | 0.9915 | 1.001 | 0.9945 | 1.003 | 0.9955 | 1.0005 | 0.997 | 1.0045 | 0.9955 | 1.003 | 1.0025 | 1.0055 | 1.0085 | 1.0065 | 1.0095 | 1.004 | 1.003 | 1.0085 | 1.0025 | 1.01 | 1.0055 | 1.011
Ballylumford | B32 | GU_500131 | Ballylumford 275 kV | 0.991 | 1.0035 | 0.9915 | 1.001 | 0.9945 | 1.003 | 0.9955 | 1.0005 | 0.997 | 1.0045 | 0.9955 | 1.003 | 1.0025 | 1.0055 | 1.0085 | 1.0065 | 1.0095 | 1.004 | 1.003 | 1.0085 | 1.0025 | 1.01 | 1.0055 | 1.011
Coolkeeragh | C30 | GU_500040 | Coolkeeragh 275/110 kV | 0.98625 | 1.0012 | 0.9875 | 0.9975 | 0.98875 | 0.9985 | 0.98875 | 0.99575 | 1.0002 | 1.0075 | 0.98875 | 1.0005 | 0.9985 | 1.0057 | 1.0012 | 1.003 | 1.0005 | 0.99725 | 0.99625 | 1.0055 | 0.99725 | 1.0065 | 1.002 | 1.0075
Coolkeeragh | CGT8 | GU_500170 | Coolkeeragh 110 kV | 0.9855 | 1.001 | 0.987 | 0.997 | 0.988 | 0.998 | 0.988 | 0.995 | 1.0005 | 1.0075 | 0.988 | 1 | 0.998 | 1.0055 | 1.0005 | 1.0025 | 0.9995 | 0.9965 | 0.9955 | 1.005 | 0.9965 | 1.006 | 1.0015 | 1.007
Kilroot | K1 | GU_500060 | Kilroot 275 kV | 0.993 | 1.005 | 0.9935 | 1.002 | 0.9955 | 1.004 | 0.9975 | 1.002 | 0.9995 | 1.006 | 0.998 | 1.0045 | 1.005 | 1.0075 | 1.0095 | 1.0075 | 1.0095 | 1.0045 | 1.005 | 1.0095 | 1.005 | 1.0115 | 1.008 | 1.013
Kilroot | K2 | GU_500070 | Kilroot 275 kV | 0.993 | 1.005 | 0.9935 | 1.002 | 0.9955 | 1.004 | 0.9975 | 1.002 | 0.9995 | 1.006 | 0.998 | 1.0045 | 1.005 | 1.0075 | 1.0095 | 1.0075 | 1.0095 | 1.0045 | 1.005 | 1.0095 | 1.005 | 1.0115 | 1.008 | 1.013
Kilroot | KGT1 | GU_500080 | Kilroot 275 kV | 0.993 | 1.005 | 0.9935 | 1.002 | 0.9955 | 1.004 | 0.9975 | 1.002 | 0.9995 | 1.006 | 0.998 | 1.0045 | 1.005 | 1.0075 | 1.0095 | 1.0075 | 1.0095 | 1.0045 | 1.005 | 1.0095 | 1.005 | 1.0115 | 1.008 | 1.013
Kilroot | KGT2 | GU_500090 | Kilroot 275 kV | 0.993 | 1.005 | 0.9935 | 1.002 | 0.9955 | 1.004 | 0.9975 | 1.002 | 0.9995 | 1.006 | 0.998 | 1.0045 | 1.005 | 1.0075 | 1.0095 | 1.0075 | 1.0095 | 1.0045 | 1.005 | 1.0095 | 1.005 | 1.0115 | 1.008 | 1.013
Kilroot | KGT3 | GU_500820 | Kilroot 275 kV | 0.993 | 1.005 | 0.9935 | 1.002 | 0.9955 | 1.004 | 0.9975 | 1.002 | 0.9995 | 1.006 | 0.998 | 1.0045 | 1.005 | 1.0075 | 1.0095 | 1.0075 | 1.0095 | 1.0045 | 1.005 | 1.0095 | 1.005 | 1.0115 | 1.008 | 1.013
Kilroot | KGT4 | GU_500821 | Kilroot 275 kV | 0.993 | 1.005 | 0.9935 | 1.002 | 0.9955 | 1.004 | 0.9975 | 1.002 | 0.9995 | 1.006 | 0.998 | 1.0045 | 1.005 | 1.0075 | 1.0095 | 1.0075 | 1.0095 | 1.0045 | 1.005 | 1.0095 | 1.005 | 1.0115 | 1.008 | 1.013
Moyle (Auchencrosh) | M | GU_500200 | Auchencrosh 275 kV | 0.982 | 0.9945 | 0.9825 | 0.992 | 0.9855 | 0.994 | 0.9865 | 0.9915 | 0.988 | 0.9955 | 0.9865 | 0.994 | 0.9935 | 0.9965 | 0.9995 | 0.9975 | 1.0005 | 0.995 | 0.994 | 0.9995 | 0.9935 | 1.001 | 0.9965 | 1.0025
NI Distribution-Connected Generation Station | Unit Identifier |  | Connected/Embedded at | Month
|  |  |  | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Altahullion (1) | Wind Farm | GU_500210 | Limavady 110 kV | 0.9935 | 1.005 | 0.995 | 1.0015 | 0.996 | 1.0025 | 0.9945 | 0.9985 | 1.0045 | 1.0095 | 0.994 | 1.0035 | 1.003 | 1.0075 | 1.0065 | 1.0065 | 1.0065 | 1.0005 | 1.003 | 1.008 | 1.0055 | 1.0105 | 1.011 | 1.012
Altahullion (2) | Wind Farm | GU_500211 | Limavady 110 kV | 0.9935 | 1.005 | 0.995 | 1.0015 | 0.996 | 1.0025 | 0.9945 | 0.9985 | 1.0045 | 1.0095 | 0.994 | 1.0035 | 1.003 | 1.0075 | 1.0065 | 1.0065 | 1.0065 | 1.0005 | 1.003 | 1.008 | 1.0055 | 1.0105 | 1.011 | 1.012
Callagheen | Wind Farm | GU_500020 | Enniskillen 110 kV | 0.9975 | 1.003 | 0.9985 | 1 | 1 | 1.001 | 0.996 | 0.996 | 1.0045 | 1.0055 | 0.997 | 1.002 | 1.004 | 1.004 | 1.0085 | 1.006 | 0.9995 | 0.9905 | 0.997 | 0.996 | 1.0005 | 1 | 1.006 | 1.0015
Lendrums Bridge (1) | Wind Farm | GU_500260 | Omagh 110 kV | 0.9935 | 1.002 | 0.9945 | 0.999 | 0.996 | 1 | 0.994 | 0.9965 | 1.002 | 1.0055 | 0.9945 | 1.0015 | 1.002 | 1.0045 | 1.0065 | 1.005 | 0.9975 | 0.991 | 0.9945 | 0.9965 | 0.9965 | 0.9995 | 1.001 | 1.001
Lendrums Bridge (1) | Wind Farm | GU_500220 | Omagh 110 kV | 0.9935 | 1.002 | 0.9945 | 0.999 | 0.996 | 1 | 0.994 | 0.9965 | 1.002 | 1.0055 | 0.9945 | 1.0015 | 1.002 | 1.0045 | 1.0065 | 1.005 | 0.9975 | 0.991 | 0.9945 | 0.9965 | 0.9965 | 0.9995 | 1.001 | 1.001
Mantlin Limited | Wind Farm | GU_500270 | Aghyoule 110 kV | 0.9955 | 0.9995 | 0.9965 | 0.996 | 0.998 | 0.9975 | 0.9935 | 0.9925 | 1.002 | 1.002 | 0.9945 | 0.999 | 1.001 | 1.0005 | 1.006 | 1.0035 | 0.997 | 0.987 | 0.9945 | 0.9925 | 0.9985 | 0.9965 | 1.004 | 0.998
Snugborough | Wind Farm | GU_500180 | Aghyoule 110 kV | 0.9955 | 0.9995 | 0.9965 | 0.996 | 0.998 | 0.9975 | 0.9935 | 0.9925 | 1.002 | 1.002 | 0.9945 | 0.999 | 1.001 | 1.0005 | 1.006 | 1.0035 | 0.997 | 0.987 | 0.9945 | 0.9925 | 0.9985 | 0.9965 | 1.004 | 0.998
Tappaghan | Wind Farm | GU_500010 | Omagh 110 kV | 0.9935 | 1.002 | 0.9945 | 0.999 | 0.996 | 1 | 0.994 | 0.9965 | 1.002 | 1.0055 | 0.9945 | 1.0015 | 1.002 | 1.0045 | 1.0065 | 1.005 | 0.9975 | 0.991 | 0.9945 | 0.9965 | 0.9965 | 0.9995 | 1.001 | 1.001
Energia DSU | DSU | DSU_500190 | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Slieve Divena | Wind Farm | GU_500740 | Omagh 110 kV | 0.9935 | 1.002 | 0.9945 | 0.999 | 0.996 | 1 | 0.994 | 0.9965 | 1.002 | 1.0055 | 0.9945 | 1.0015 | 1.002 | 1.0045 | 1.0065 | 1.005 | 0.9975 | 0.991 | 0.9945 | 0.9965 | 0.9965 | 0.9995 | 1.001 | 1.001
Garves | Wind Farm | GU_500720 | Coleraine 110 kV | 0.9965 | 1.007 | 0.998 | 1.0035 | 0.999 | 1.0045 | 0.997 | 1.0005 | 1.006 | 1.0105 | 0.997 | 1.005 | 1.005 | 1.009 | 1.0095 | 1.008 | 1.0095 | 1.0025 | 1.006 | 1.01 | 1.0085 | 1.013 | 1.014 | 1.0145
Gruig | Wind Farm | GU_500790 | Coleraine 110 kV | 0.9965 | 1.007 | 0.998 | 1.0035 | 0.999 | 1.0045 | 0.997 | 1.0005 | 1.006 | 1.0105 | 0.997 | 1.005 | 1.005 | 1.009 | 1.0095 | 1.008 | 1.0095 | 1.0025 | 1.006 | 1.01 | 1.0085 | 1.013 | 1.014 | 1.0145

## 2010 NI Banding
APPENDIX 1B
DRAFT NORTHERN IRELAND TRANSMISSION LOSS ADJUSTMENT FACTORS 2010
NI Transmission-Connected Generation Station | Unit Identifier |  | Connected at | Month
|  |  |  | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Ballylumford | B4 | GU_500100 | Ballylumford 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Ballylumford | B5 | GU_500281 | Ballylumford 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Ballylumford | B6 | GU_500280 | Ballylumford 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Ballylumford | BGT1 | GU_500150 | Ballylumford 110 kV | 0.98 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Ballylumford | BGT2 | GU_500160 | Ballylumford 110 kV | 0.98 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Ballylumford | B10 | GU_500140 | Ballylumford 110 kV | 0.98 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Ballylumford | B31 | GU_500130 | Ballylumford 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Ballylumford | B32 | GU_500131 | Ballylumford 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Coolkeeragh | C30 | GU_500040 | Coolkeeragh 275/110 kV | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 1 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Coolkeeragh | CGT8 | GU_500170 | Coolkeeragh 110 kV | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 1 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Kilroot | K1 | GU_500060 | Kilroot 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Kilroot | K2 | GU_500070 | Kilroot 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Kilroot | KGT1 | GU_500080 | Kilroot 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Kilroot | KGT2 | GU_500090 | Kilroot 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Kilroot | KGT3 | GU_500820 | Kilroot 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Kilroot | KGT4 | GU_500821 | Kilroot 275 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02
Moyle (Auchencrosh) | M | GU_500200 | Auchencrosh 275 kV | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
NI Distribution-Connected Generation Station | Unit Identifier |  | Connected/Embedded at | Month
|  |  |  | January |  | February |  | March |  | April |  | May |  | June |  | July |  | August |  | September |  | October |  | November |  | December
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Altahullion (1) | Wind Farm | GU_500210 | Limavady 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1.02 | 1.02
Altahullion (2) | Wind Farm | GU_500211 | Limavady 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1.02 | 1.02
Callagheen | Wind Farm | GU_500020 | Enniskillen 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Lendrums Bridge (1) | Wind Farm | GU_500260 | Omagh 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Lendrums Bridge (1) | Wind Farm | GU_500220 | Omagh 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Mantlin Limited | Wind Farm | GU_500270 | Aghyoule 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1
Snugborough | Wind Farm | GU_500180 | Aghyoule 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.98 | 1 | 1 | 1 | 1 | 1 | 1
Tappaghan | Wind Farm | GU_500010 | Omagh 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Energia DSU | DSU | DSU_500190 | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Slieve Divena | Wind Farm | GU_500740 | Omagh 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Garves | Wind Farm | GU_500720 | Coleraine 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02 | 1.02 | 1.02
Gruig | Wind Farm | GU_500790 | Coleraine 110 kV | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.02 | 1 | 1.02 | 1.02 | 1.02